Steps For Setting Up Text Box:

Go to File> Hardcopy> Text Records

Once Box Opens Select All Boxes In Parameter Selection Except:

-Tide

-Reflectivity

-Bottom Loss

Then In the Text Output Port Select:

-Auxiliary COM Port

Then In the Print Interval Click the Box to Select Ping Rate

Once Set Up Save to File

File Name Will Be: Line Name_text

Once the Record has Begun to Record Start Output.

Right Before the Record is Stopped Click Stop Saving.